Date:

Operator: MilliQ TOC (ppb):

Time on:

Time off:

**Lamp Check Raman Water calibration**

File name: File name:

λ: Peak (397±1): SNR(>20,000):

**Raman Water test (Monthly) DI water Raman test**

File name: File name:

Int (s): Area: Int (s): Area:

nm: Intensity: nm: Intensity:

Ccd: Ccd:

**Quinine Sulfate (Monthly)** :**% Difference**

Blank File name:

Sample File name:

X 100 =

Int (s): QSU adjust:

nm: Intensity:

Ccd: